| Periodic Survey Report Template Electrical systems |  |  |
| --- | --- | --- |
| Survey for compliance of: | Survey findings | Add photos |
| Electrical installation |  |  |
| Configuration as approved (From inspection that the installation is as per documented design, installation or modification approval.) |  |  |
| Condition of installation and materials (From five-yearly testing of the electrical installation using the check sheet in AS/NZS 3004:2 Appendix C) |  |  |
| Emergency power source – Batteries |  |  |
| Capacity (From check of rated capacity, relative to rule requirements, and from use of a discharge test to measure the effect of age on capacity). |  |  |
| Charge capability (From test of the capability of the battery charge current, relative to time and load requirements in the rules.) |  |  |
| Condition (From inspection for damage and corrosion, and for adequacy of restraints and protection from the elements.) |  |  |
| Switches or contactors (From check of arrangement of any emergency tie switches or contactors on emergency batteries, for ability to disconnect from other batteries) |  |  |
| Operation (From testing that all systems required to operate from the emergency batteries do operate with the main source of power switched off.) |  |  |
| Practical capability (From five-yearly measurement of actual amps drawn from all load needed during an emergency and calculation of capability of battery to run the load for hours required under the rules) |  |  |
| Emergency power source – Generator |  |  |
| Capacity and condition (From inspection of rated capacity and independence of emergency fuel supply and its storage capacity). |  |  |
| Operation (From testing that all systems required to operate from the emergency generator, do operate with the main source of power switched off.) |  |  |
| Practical Capability (From five-yearly measurement of actual amps drawn from all load needed during an emergency and calculation of capability of generator to run the load for hours required under the rules) |  |  |
| Lighting |  |  |
| Navigation lights – adequacy (From inspection of navigation lights lantern type, number and location, relative to Rule 22 requirements). |  |  |
| Navigation lights – operation (From test of operation of navigation lights, separately using the main and emergency power systems) |  |  |
| Navigation lights – protection and monitoring (From test of control and electrical protection of each navigation light.) |  |  |
| Emergency lighting condition and suitability (From inspection of condition of each emergency light luminaire and associated hardware and of its suitability for its operating environment). |  |  |
| Emergency lighting operation and adequacy (From test of the operation of the emergency lighting, and the adequacy of the lighting for egress and deployment of survival craft, separately using the main and emergency power sources) |  |  |
| Bilge system |  |  |
| Automatic operation (From test of the automatic operation of each bilge pump by activating the pump float switch, separately using the main and emergency power sources.) |  |  |
| Electric steering system |  |  |
| Operation (From test of the operation the steering pump motors (including run indicators and overload alarms) and rudder angle indicator, separately using the main and emergency power sources.) |  |  |
| Monitoring and alarm systems |  |  |
| General alarm & public address (From test of the alarm system, separately using the main and emergency power sources.) |  |  |
| Navigation lights alarm (From test of the lantern failure alarm system for each navigation light.) |  |  |
| Fire detection alarm (From test of the operation of the fire detection and alarm system, separately using the main and emergency power sources.) |  |  |
| Bilge alarm location (From inspection of the location of bilge alarm relative to steering station.) |  |  |
| Bilge alarm operation (From test of the operation of the run indicators, the high-level sensors and alarm, separately using the main and emergency power supplies.) |  |  |
| Watertight door indicators (From test of the operation of the water-tight door position indicators, in each of the ‘open’ and ‘closed’ positions, for each steering station.) |  |  |
| Emergency stop switches and interlock systems (as applicable) |  |  |
| Conveyor systems (From testing the operation of each emergency stop when the conveyor system is running.) |  |  |
| Engine space extract fan (From testing of operation of timed interlock of the extract fan with the engine ignition) |  |  |
| Equipotential bonding of metallic components of fuel system |  |  |
| Bonding condition (From inspection of all bonding conductors and terminations, for corrosion or damage) |  |  |
| Bonding effectiveness (From five-yearly test of electrical resistance between metallic parts of the fuel system) |  |  |
| Electrical equipment compatibility (EMC) |  |  |
| Electrical interference (EMI) (From check of log book records and from observations (e.g. flickering lights, humming or buzzing on radio equipment) for electrical interference, separately using the main and emergency power supplies.) |  |  |
| Cathodic protection system |  |  |
| (From measurement of the adequacy of the negative voltage shift between the anodes, with the vessel in the water) |  |  |